## Read me
AlcorOne — false ceiling and electrical BOQ template and specification pack
Free to use, copy, and take to any contractor. Using it puts you under no obligation to AlcorOne, and no part of it needs us.
What is in here
BOQ format (blank) — the eleven-column format with ceiling, lighting and electrical lines pre-listed, room by room. Give it to every firm and ask them to quote on it.
Worked sample — living, dining and two bedrooms, filled to the level of detail that counts as specified. An illustrative layout, not a client's project.
Specification reference — fifteen elements: what each line must name, the vague wording to refuse, and the failure that vagueness causes.
Ceiling and electrical checklist — questions to ask before the ceiling is closed, at material delivery, during framing and at handover. Printable.
Measurement basis
False ceilings are quoted per sq ft of covered area. Write down whether the vertical faces of drops and coves are counted in that area or as running feet, because the same ceiling measures differently either way. Profile lights and cove strips are quoted per running foot and sit outside the ceiling rate. Electrical work is quoted per point, counted room by room — never as a lump sum.
Why the rate column is empty
On purpose. This sheet is for putting two or three contractors' numbers side by side against one fixed specification, and pre-filled rates would anchor that comparison. Cost bands, with their basis and their date attached, are published on the site instead.
Read next
False ceiling cost per sq ft, with its basis and date: https://www.alcorone.com/blog/false-ceiling-cost-hyderabad/
Four false ceiling mistakes, including AC and fan placement: https://www.alcorone.com/blog/false-ceiling-mistakes-hyderabad/
Electrical planning mistakes to settle before any woodwork: https://www.alcorone.com/blog/electrical-planning-mistakes-hyderabad/
The whole-home BOQ pack (blank format, 3BHK sample, carpenter checklist): https://www.alcorone.com/boq-template/
A note on contact
A download is not an enquiry, and we do not treat it as one. Nobody will call you for taking this file.
AlcorOne Solutions LLP · alcorone.com

## BOQ format (blank)
Blank format with the usual lines pre-listed. Give this to each contractor and ask them to quote on it — a quotation that arrives in your format is comparable; one that arrives in theirs is not. Shaded cells are theirs to fill. Add or delete lines; keep the columns.
S.No | Area / room | Item description | Unit | Qty | Core material and grade | Edge banding | Hardware — brand and series | Finish — brand and code | Rate (₹) | Amount (₹) | Remarks / exclusions
1 | Living room | False ceiling — gypsum, design named | sq.ft
2 | Living room | Cove — vertical face and ledge | rft
3 | Dining | False ceiling — gypsum | sq.ft
4 | Bedrooms | False ceiling — gypsum, per room | sq.ft
5 | Kitchen | Ceiling — moisture-resistant board or grid | sq.ft
6 | Bathrooms | Ceiling — PVC, grid or moisture-resistant board | sq.ft
7 | Balcony / utility | Ceiling — PVC or BWP cladding | sq.ft
8 | Whole home | Access panels — AC drains, geysers, junctions | Nos
9 | Whole home | Profile lights — channel, diffuser, strip, driver | rft
10 | Whole home | Cove LED strip and driver | rft
11 | Whole home | Downlights and panels — supply or fixing only | Nos
12 | Whole home | Ceiling painting — putty, primer, finish | sq.ft
13 | Whole home | Electrical — lighting points | Nos
14 | Whole home | Electrical — power sockets | Nos
15 | Whole home | Electrical — AC, geyser and kitchen appliance points | Nos
16 | Whole home | Data, TV and router points | Nos
17 | Whole home | Distribution board — changes or replacement | Nos
18 | Whole home | Testing and certification of new circuits | Lot
Subtotal
GST @ 18%
Total
Measurement basis used in this document: ______________________ (state it once, use it on every line)
Quotation valid until: ____________ Completion period from start: ______ weeks
Excluded from this document entirely: ____________________________________________

## Sample — living, dining, 2 bed
Living, dining and two bedrooms on a 10 ft slab height — an illustrative layout, not a client's project. Ceiling area is covered area in sq ft, with cove faces in running feet. Specifications are filled in hard because they are the part you lock. Rates are deliberately blank: published false ceiling bands live on the site with their basis and date.
S.No | Area / room | Item description | Unit | Qty | Core material and grade | Edge banding | Hardware — brand and series | Finish — brand and code | Rate (₹) | Amount (₹) | Remarks / exclusions
1 | Living room | False ceiling — perimeter frame with central cove, gypsum | sq.ft | 180 | Gypsum board to IS 2095 (Part 1): brand and thickness named. GI framing: brand, section and zinc coating named; ceiling sections at 4 ft max; hangers to slab. | — | — | Joints taped with fibre mesh; screws countersunk and filled |  |  | Drop in mm and clear height after the drop stated.
2 | Living room | Cove — vertical face and ledge | rft | 44 | Gypsum on GI framing, as above | — | — | As ceiling |  |  | Cove depth stated so the strip is hidden from the seated eye line.
3 | Dining | False ceiling — flat with one step, gypsum | sq.ft | 90 | As living room | — | — | As living room |  |  | Pendant position fixed on the drawing, with a support for its weight.
4 | Master bedroom | False ceiling — perimeter frame, gypsum | sq.ft | 120 | As living room | — | — | As living room |  |  | Drop clears the wardrobe shutters and loft doors when open.
5 | Bedroom 2 | False ceiling — perimeter frame, gypsum | sq.ft | 100 | As living room | — | — | As living room |  |  | AC indoor unit position and drain route fixed before boarding.
6 | Whole home | Access panels | Nos | 3 | Panel type and size named per location | — | — | Finished flush with the ceiling |  |  | One at each AC drain valve and each concealed junction.
7 | Living room | Profile lights — aluminium channel, diffuser, strip and driver | rft | 24 | Channel, diffuser, LED strip and driver: brand named | — | — | Light colour in K named |  |  | Priced per rft, outside the ceiling sq ft rate.
8 | Living room | Cove LED strip and driver | rft | 44 | LED strip and driver: brand, wattage per metre named | — | — | Light colour in K named |  |  | Driver location reachable through an access panel.
9 | Whole home | Downlights — fixing only | Nos | 16 | Fittings supplied by owner — or brand, model and wattage named if supplied | — | — | Light colour in K named |  |  | Cut-out sizes from the actual fittings.
10 | Whole home | Ceiling painting | sq.ft | 490 | Putty coats, primer and finish coats stated | — | — | Paint brand, product line and shade named |  |  | Ceiling area including cove faces.
11 | Whole home | Electrical — lighting points | Nos |  | FR-LSH wire: brand and cross-section per circuit named; rigid PVC conduit; joints only inside junction boxes | — | Switch plates: brand and series named | — |  |  | Points listed room by room. Two-way switching where planned.
12 | Whole home | Electrical — power sockets | Nos |  | As lighting, with socket rating named per point | — | Socket plates: brand and series named | — |  |  | Positions taken from the furniture layout, not behind heavy units.
13 | Whole home | Electrical — AC, geyser and kitchen appliance points | Nos |  | Dedicated circuit per heavy appliance; wire cross-section named | — | — | — |  |  | Listed by appliance.
14 | Whole home | Data, TV and router points | Nos |  | Cable type named; conduit separate from power | — | — | — |  |  | Router position agreed, with a power socket beside it.
15 | Whole home | Distribution board — changes | Nos | 1 | Breakers added: make and rating named per circuit | — | — | — |  |  | Lighting split across more than one breaker.
16 | Whole home | Testing of new circuits | Lot | 1 | Insulation and earth continuity tested on new circuits | — | — | — |  |  | Test results handed over in writing.
Subtotal
GST @ 18%
Total
Measurement basis used in this document: ______________________ (state it once, use it on every line)
Quotation valid until: ____________ Completion period from start: ______ weeks
Excluded from this document entirely: ____________________________________________

## Specification reference
What each line must name. The third column is the wording to refuse.
Element | What the line must name | The vague version | Why it matters
Ceiling board — dry areas | Gypsum board to IS 2095 (Part 1), brand and thickness named | "Gypsum ceiling", "POP ceiling" | Board type and thickness decide sag and cracking; an unnamed board cannot be checked when it arrives.
Ceiling board — wet and outdoor areas | Moisture-resistant board, PVC or BWP to IS 710 named for kitchens, bathrooms, balconies | Same board as the living room | Standard gypsum board must never be used in open balconies or wet bathrooms.
Framing | GI sections: brand, section and zinc coating named; ceiling sections at 4 ft maximum; hangers to the slab | "GI frame" | Framing spacing is invisible after boarding, which is exactly why it gets stretched.
Perimeter angle | Fixed to the wall at no more than 2 ft intervals | Not mentioned | Edges fixed too far apart drop away from the wall and crack along the line.
Drop and clear height | Drop in mm per room, and the clear height left after it | "Standard drop" | A deep drop costs room height, traps heat and can foul wardrobe and loft doors.
Joints and screws | Fibre mesh tape on every joint; screws countersunk and filled | Not mentioned | Untaped joints show as hairline cracks within months.
Access panels | Location and size for every AC drain valve, geyser and concealed junction | Not mentioned | Without a panel, servicing a drain or junction means cutting the finished ceiling.
Cove | Cove depth, ledge width, LED strip brand, wattage per metre and colour temperature | "Cove lighting" | A shallow cove shows the strip; a wrong colour temperature changes the whole room.
Profile lights | Channel, diffuser, strip and driver brand; length in rft; priced separately | Included in the ceiling rate | Profile lighting is priced per running foot outside the sq ft rate — leaving it unstated is a standard extra.
Ceiling paint | Putty coats, primer, finish coats, brand and shade | "Painting included" | Coat count is where paint cost is removed invisibly.
Wiring | FR-LSH wire, brand named, cross-section named per circuit type | "Branded wire" | The space above a false ceiling is closed for years; the wire grade is the fire-safety line.
Conduits and junctions | Rigid PVC conduit, flexible only for short drops to fittings; joints only in junction boxes | "Concealed wiring" | Taped joints in a closed ceiling are a fire risk nobody will see.
Circuits and distribution board | Circuits listed; lighting split across breakers; breaker make and rating named; DB changes on their own line | "Electrical work" | One overloaded breaker takes out every light in the home.
Measurement basis | Covered area in sq ft; cove and drop faces in or out stated; points counted room by room | Basis unstated, or a lump sum | The same ceiling measures differently with and without its vertical faces.
GST | Subtotal, then GST shown, then total | One number, tax status unstated | Inclusive and exclusive quotes differ by 18% and look identical in a message.

## Checklist
Ceiling and electrical checklist — questions for your contractor
Print this. Ask them on site, in this order, and write the answers on the sheet. An answer you cannot write down is not an answer.
Before the ceiling is closed
☐ | Is the AC piping and drain route finished and tested before any board goes up?
☐ | Is the fan position fixed on the drawing, clear of the cove and the light layout?
☐ | Do the wardrobe shutters and loft doors open fully under the planned drop?
☐ | Are all openings to the outside sealed so rats cannot get in above the ceiling?
☐ | Are all new circuits wired, tested and labelled before boarding?
When material arrives
☐ | Show me the board brand, thickness and standard printed on the sheet.
☐ | Show me the GI section brand and zinc coating on the channel.
☐ | Is the wire FR-LSH, the brand in the BOQ, and the cross-section agreed per circuit?
During framing
☐ | Measure the ceiling section spacing before boarding — 4 ft maximum.
☐ | Are the perimeter angles fixed at 2 ft or less?
☐ | Are all wire joints inside junction boxes, and is the conduit rigid except short drops?
☐ | Where are the access panels going, and do they line up with the AC drains and junctions?
At handover
☐ | Check the ceiling with a laser level: no slope, no sag.
☐ | Look along each joint in raking light: taped, filled, no hairline cracks.
☐ | Switch every circuit on and off at the board. Is each one labelled?
☐ | Are the circuit test results handed over in writing?
Money
☐ | Are profile lights and cove strips priced per running foot, separately from the ceiling?
☐ | Are light fittings in your number, or supplied by me?
☐ | Is GST included in the figure you just said?