## Read me
AlcorOne — retail and F&B fit-out BOQ template and specification pack
Free to use, copy, and take to any contractor. Using it puts you under no obligation to AlcorOne, and no part of it needs us.
What is in here
BOQ format (blank) — the eleven-column format with shopfront, interior, services and back-of-house lines pre-listed, plus the boundary lines that decide what the number covers: kitchen equipment, POS, power backup, mall deposits and approvals.
Worked sample — a 1,200 sq ft carpet-area cafe with a service counter and a back-of-house kitchen, filled to the level of detail that counts as specified. An illustrative outlet, not a client's project.
Specification reference — fifteen elements: what each line must name, the vague wording to refuse, and the failure that vagueness causes.
Retail and F&B checklist — questions to settle before signing, at design, on site and at handover. Printable.
Measurement basis
Retail and F&B fit-outs are quoted per sq ft, and the same rate on carpet area and on built-up area are different prices. State the area basis at the top, and state which of shopfront, HVAC, electrical, kitchen exhaust and grease management the number covers. Kitchen equipment, POS hardware, power backup, mall deposits and statutory fees are listed on their own lines and marked included or excluded — together they can add a large share to a headline rate.
Why the rate column is empty
On purpose. This sheet is for putting two or three contractors' numbers side by side against one fixed specification, and pre-filled rates would anchor that comparison. Cost bands, with their basis and their date attached, are published on the site instead.
Read next
Retail fit-out cost per sq ft by format, with its basis, exclusions and date: https://www.alcorone.com/blog/retail-fitout-cost-hyderabad/
Mall store fit-outs: the fit-out manual, approvals and access windows: https://www.alcorone.com/services/mall-store-fitouts/
Retail, cafe, QSR and restaurant fit-outs: https://www.alcorone.com/services/retail-fitouts/
The whole-home BOQ pack (blank format, 3BHK sample, carpenter checklist): https://www.alcorone.com/boq-template/
A note on contact
A download is not an enquiry, and we do not treat it as one. Nobody will call you for taking this file.
AlcorOne Solutions LLP · alcorone.com

## BOQ format (blank)
Blank format with the usual lines pre-listed. Give this to each contractor and ask them to quote on it — a quotation that arrives in your format is comparable; one that arrives in theirs is not. Shaded cells are theirs to fill. Add or delete lines; keep the columns.
S.No | Area / room | Item description | Unit | Qty | Core material and grade | Edge banding | Hardware — brand and series | Finish — brand and code | Rate (₹) | Amount (₹) | Remarks / exclusions
1 | Shopfront | Shopfront — glazing, frame, entrance door, shutter | sq.ft
2 | Shopfront | Signage — fascia and blade, illumination | Nos
3 | Interior | Partitions and wall cladding | sq.ft
4 | Interior | Ceilings — by zone, with service access | sq.ft
5 | Interior | Flooring — front of house and back of house | sq.ft
6 | Interior | Service, billing or cash counter | Nos
7 | Interior | Display joinery — wall bays, shelving, tables | Nos
8 | Interior | Seating — built-in and loose | Nos
9 | Services | Electrical — DB, distribution, points, load | Lot
10 | Services | Lighting — ambient, display, signage feeds | Nos
11 | Services | HVAC within the unit | Lot
12 | Services | Fire detection and sprinkler modifications | Lot
13 | Back of house | Kitchen exhaust, fresh air and ducting | Lot
14 | Back of house | Plumbing, drainage falls and grease trap | Lot
15 | Back of house | Civil and services to receive kitchen equipment | Lot
16 | Boundary | Kitchen equipment, POS, power backup — named or excluded | Lot
17 | Site | Hoarding, protection, debris, night-shift working | Lot
18 | Handover | Snag closure, as-builts, test reports, exit position | Lot
Subtotal
GST @ 18%
Total
Measurement basis used in this document: ______________________ (state it once, use it on every line)
Quotation valid until: ____________ Completion period from start: ______ weeks
Excluded from this document entirely: ____________________________________________

## Sample — 1,200 sq ft cafe
A 1,200 sq ft carpet-area cafe on a high street, with a service counter, 30 covers and a back-of-house kitchen, handed over as a bare shell — an illustrative outlet, not a client's project. Specifications are filled in hard because they are the part you lock. Rates are deliberately blank: the published retail band carries its basis, exclusions and date.
S.No | Area / room | Item description | Unit | Qty | Core material and grade | Edge banding | Hardware — brand and series | Finish — brand and code | Rate (₹) | Amount (₹) | Remarks / exclusions
1 | Shopfront | Shopfront — toughened glazing on aluminium frame, entrance door, rolling shutter | sq.ft | 160 | Glass thickness and type, frame system and finish, shutter type named | — | Door closer, lock and handle: brand and model named | Frame finish named |  |  | Landlord or mall shopfront rules attached.
2 | Shopfront | Signage — illuminated fascia and blade sign | Nos | 2 | Letter or box construction, material and illumination named | — | — | Brand artwork supplied by owner |  |  | Signage approval — landlord, mall or municipal — named as a dependency.
3 | Interior | Wall cladding and partition to back of house | sq.ft | 600 | Substrate and finish named; fire-rated board where the kitchen wall needs it | — | — | Finish named
4 | Interior | Ceilings — gypsum in dining, washable grid in kitchen | sq.ft | 1,100 | Gypsum to IS 2095 (Part 1) on GI framing; kitchen tile type named | — | — | Paint system named |  |  | Designed together with the sprinkler and detector layout, with access panels.
5 | Interior | Flooring — tile in dining, anti-skid tile in kitchen | sq.ft | 1,150 | Tile product, size and wear grade named; slip rating named for the kitchen | — | — | Grout named |  |  | Floor falls to drains in the kitchen stated.
6 | Interior | Service and billing counter | Nos | 1 | Carcass BWP to IS 710; top material and thickness named; front finish named | 2mm PVC exposed | Drawers and shutters: brand and series named | Finish named |  |  | Cable management for POS and display power built in.
7 | Interior | Display joinery — menu wall, shelving | Nos | 2 | Board grade named; shelf load stated | 2mm PVC exposed | Brackets and channels: brand named | Finish named
8 | Interior | Seating — built-in banquette and loose chairs and tables | Nos | 30 covers | Banquette frame and upholstery named; loose furniture by model | — | — | Fabric code named |  |  | Loose furniture by model and supplier, item by item.
9 | Services | Electrical — DB, distribution and points | Lot | 1 | Sanctioned load stated; DB and breakers: make and rating named; FR-LSH wire | — | — | — |  |  | Points scheduled against the kitchen equipment list.
10 | Services | Lighting — ambient, counter and menu-wall display | Nos |  | Fittings: brand, model, wattage and colour temperature named | — | — | — |  |  | Signage power feed on this line.
11 | Services | HVAC within the unit | Lot | 1 | System type and capacity named; ducting and grilles; commissioning | — | — | — |  |  | Boundary with landlord provision named.
12 | Services | Fire detection and sprinkler modifications | Lot | 1 | Heads and detectors relocated or added to the final ceiling layout | — | — | — |  |  | Who designs, who installs, and who obtains the fire NOC named.
13 | Back of house | Kitchen exhaust, fresh air and ducting | Lot | 1 | Hood, duct material and gauge, route and discharge point named; make-up air named | — | — | — |  |  | Tie-in to a building riser named where one exists.
14 | Back of house | Plumbing, drainage falls and grease trap | Lot | 1 | Pipe material named; falls stated; grease trap type and capacity named | — | — | — |  |  | Drainage condition checked straight after demolition.
15 | Back of house | Civil and services to receive kitchen equipment | Lot | 1 | Plinths, gas line route, water and drain points, power points per equipment | — | — | — |  |  | Built to the kitchen vendor's equipment list and layout.
16 | Boundary | Kitchen equipment, POS, power backup | Lot |  | Each named with supplier, or written as excluded | — | — | — |  |  | Kitchen equipment is almost always a separate vendor.
17 | Site | Hoarding, protection, debris, working hours | Lot | 1 | Hoarding to landlord specification; debris removal; permitted hours | — | — | — |  |  | Night-shift working priced here if required.
18 | Handover | Handover documents | Lot | 1 | Closed snag list, as-builts, electrical layout, test reports, warranties with models named; exit and reinstatement position | — | — | — |  |  | Snag closed before soft launch, not after.
Subtotal
GST @ 18%
Total
Measurement basis used in this document: ______________________ (state it once, use it on every line)
Quotation valid until: ____________ Completion period from start: ______ weeks
Excluded from this document entirely: ____________________________________________

## Specification reference
What each line must name. The third column is the wording to refuse.
Element | What the line must name | The vague version | Why it matters
Measurement basis | Carpet area or built-up area stated, and used for every quote | Basis unstated | The same per-sq-ft rate on built-up area is a higher price than on carpet area.
Scope boundary | Shopfront, HVAC, electrical, exhaust and grease management each marked in or out | "Complete fit-out" | A quote that excludes the services is not cheaper; on an F&B outlet they are a large share of the total.
Shopfront | Glass thickness and type, frame system, door hardware, shutter type | "Glass shopfront" | The shopfront is the most visible line and the one most often value-engineered after signing.
Signage | Construction, material, illumination, and who obtains the approval | "Signage as per brand" | Signage approval sits with the landlord, mall or municipality and can hold up opening.
Counters | Carcass grade, top material and thickness, front finish, cable management | "Counter as per design" | Counters take daily wear and water; an unnamed top is the first thing to be swapped.
Display joinery | Board grade, shelf load, brackets and channels by brand | "Display units" | Shelving built without a stated load sags under stock.
Flooring | Product, size and wear grade by zone; slip rating and falls in the kitchen | "Vitrified tiles" | Kitchen floors need slip resistance and falls to drains; dining tile does not provide either.
Ceilings | Board or tile by zone, access panels, and co-ordination with the sprinkler layout | "False ceiling" | Sprinkler and detector layouts are designed against the final ceiling; change one and the other follows.
Electrical | Sanctioned load, DB and breaker make and rating, points against the equipment list | "Electrical work" | F&B loads run well above retail; an undersized supply is found on opening week.
HVAC | System and capacity, ducting, commissioning, and the boundary with landlord provision | "AC as per landlord" | HVAC beyond the landlord's provision to the unit boundary is a common exclusion.
Fire | What is relocated or added, who designs and installs, who obtains the NOC | "Fire as per norms" | The NOC cost is modest; the sequencing risk is not.
Kitchen exhaust and fresh air | Hood, duct material and gauge, route, discharge point, make-up air, riser tie-in | "Exhaust ducting" | A route that has not been agreed with the landlord or mall is redesigned on site.
Grease and drainage | Pipe material, falls, grease trap type and capacity, connection point | "Plumbing work" | Drainage and grease problems are frequently discovered only after demolition.
Boundary items | Kitchen equipment, POS hardware, power backup, mall deposits and charges, statutory fees — each included or excluded | Not mentioned | Together these can add a large share to a headline rate, and they belong in writing.
Approvals and GST | Fit-out manual compliance, FSSAI and fire clearances: who submits and pays; subtotal, GST, total | Not mentioned | An approval with no named owner becomes the reason the outlet opens late.

## Checklist
Retail and F&B checklist — questions for your contractor
Print this. Ask them on site, in this order, and write the answers on the sheet. An answer you cannot write down is not an answer.
Before signing
☐ | Have you read the landlord's or mall's fit-out manual for this unit?
☐ | Is your rate on carpet area or built-up area?
☐ | Which of shopfront, HVAC, electrical, exhaust and grease management is in your number?
☐ | Are kitchen equipment, POS, power backup, mall deposits and statutory fees in or out — in writing?
☐ | When is possession, and how does that compare with the date in the lease?
At design
☐ | Do we have the kitchen vendor's equipment list and layout before services are fixed?
☐ | Is the sprinkler and detector layout drawn against the final ceiling?
☐ | Where does the kitchen exhaust discharge, and has the route been agreed with the landlord?
☐ | Who obtains the signage, fire and FSSAI approvals, and when?
On site
☐ | Has the drainage been checked straight after demolition?
☐ | What working hours are permitted, and is night-shift working priced?
☐ | Is the hoarding built to the landlord's or mall's specification?
At handover
☐ | Is the snag list closed before soft launch?
☐ | Do we have as-builts, the electrical layout and the test reports?
☐ | Are warranties handed over with the models fitted named?
☐ | Is the exit and reinstatement position at lease end documented?
Money
☐ | What triggers each payment — a stage we can inspect?
☐ | How is a variation priced, and do we see it before it is done?
☐ | Is GST included in the figure you just said?