## Read me
AlcorOne — interior BOQ template and specification pack
Free to use, copy, and take to any contractor. Using it puts you under no obligation to AlcorOne, and no part of it needs us.
What is in here
BOQ format (blank) — the column structure a quotation should arrive in. Give it to a contractor and ask them to quote on it.
Worked sample — the same format filled in for a 3BHK, so you can see the level of detail that counts as specified.
Specification reference — what each line must name, the vague version it replaces, and the failure that vagueness causes.
Carpenter checklist — questions to ask on site, grouped by when to ask them. Printable.
Why the rate column is empty
On purpose. This sheet is for putting two or three contractors' numbers side by side against one fixed specification, and pre-filled rates would anchor that comparison. Cost bands, with their basis and their date attached, are published on the site instead:
https://www.alcorone.com/hyderabad/interior-cost/
https://www.alcorone.com/blog/interior-cost-per-sqft/
How to use it against quotes you already have
1. Fix one measurement basis and write it at the top. Use the same one for every quote.
2. Put every quote on the same side of GST before comparing anything.
3. Copy each contractor's lines into the format. Anything they cannot fill in is not a detail they forgot — it is a decision they have left open.
4. Add every excluded line back to the cheaper quote before you call it cheaper.
The long version, with a worked example: https://www.alcorone.com/services/compare-interior-quotes/
How to read a BOQ line by line: https://www.alcorone.com/blog/understanding-boq-vizag/
A note on contact
If you downloaded this from our site, we will not call you. A download is not an enquiry and we do not treat it as one. If you ticked the box asking us to get in touch, that is by email or WhatsApp only.
AlcorOne Solutions LLP · alcorone.com

## BOQ format (blank)
Blank format. Give this to each contractor and ask them to quote on it — a quotation that arrives in your format is comparable; one that arrives in theirs is not. Shaded cells are theirs to fill.
S.No | Area / room | Item description | Unit | Qty | Core material and grade | Edge banding | Hardware — brand and series | Finish — brand and code | Rate (₹) | Amount (₹) | Remarks / exclusions
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
Subtotal
GST @ 18%
Total
Measurement basis used in this document: ______________________ (state it once, use it on every line)
Quotation valid until: ____________ Completion period from start: ______ weeks
Excluded from this document entirely: ____________________________________________

## Worked sample — 3BHK
The same format, filled to the level of detail that counts as specified. Rates are deliberately blank: this is a comparison sheet, and published cost bands live on the site with their basis and date attached. Specifications are filled in hard, because that is the part you lock.
S.No | Area / room | Item description | Unit | Qty | Core material and grade | Edge banding | Hardware — brand and series | Finish — brand and code | Rate (₹) | Amount (₹) | Remarks / exclusions
1 | Kitchen | Base units — carcass and shutters, straight run | sq.ft | 42 | 18mm BWP to IS 710 | 2mm PVC exposed / 0.8mm internal | Hinges: named brand + series, SS 304 soft-close. Qty stated per shutter. | 1mm laminate, brand + shade code |  |  | Countertop, sink, tap and chimney excluded — see their own lines
2 | Kitchen | Wall units — carcass and shutters | sq.ft | 28 | 18mm BWR to IS 303 | 2mm PVC exposed / 0.8mm internal | Hinges: named brand + series, soft-close. Lift-up fitting if specified. | 1mm laminate, brand + shade code |  |  | Height above counter to be confirmed on site
3 | Kitchen | Tandem drawer set — 4 drawers | Nos | 4 | Drawer box as per hardware system | — | Named brand + series, soft-close, load rating stated | Front to match shutter finish |  |  | Priced per drawer, not absorbed into the sq.ft rate
4 | Kitchen | Countertop | sq.ft | 22 | Quartz or granite — material, brand and thickness named | — | — | Edge profile named |  |  | Cut-outs for sink and hob included / excluded — state which
5 | Master bedroom | Wardrobe — carcass and hinged shutters | sq.ft | 100 | 18mm BWP to IS 710 base and lower panels; 18mm BWR to IS 303 above | 2mm PVC exposed / 0.8mm internal | Hinges: named brand + series, SS 304 soft-close | 1mm laminate, brand + shade code |  |  | Loft treated as a separate line
6 | Master bedroom | Wardrobe internals — telescopic drawer units | Nos | 3 | 18mm BWR to IS 303 | 0.8mm PVC | Telescopic channels: named brand + series | Internal laminate, brand + code |  |  | Listed separately — drawers cost more than open shelves
7 | Bedroom 2 | Wardrobe — carcass and hinged shutters | sq.ft | 70 | 18mm BWR to IS 303 | 2mm PVC exposed / 0.8mm internal | Hinges: named brand + series, soft-close | 1mm laminate, brand + shade code |  |  | Loft treated as a separate line
8 | Bedroom 3 | Wardrobe — carcass and hinged shutters | sq.ft | 65 | 18mm BWR to IS 303 | 2mm PVC exposed / 0.8mm internal | Hinges: named brand + series, soft-close | 1mm laminate, brand + shade code |  |  | Loft treated as a separate line
9 | Living room | TV unit — lower console and wall panelling | sq.ft | 45 | 18mm BWR to IS 303 | 2mm PVC exposed | Channels and hinges: named brand + series | Laminate or veneer — brand, code and coats named |  |  | Cable management and socket shifting: state who does it
10 | Living room | False ceiling — peripheral with cove | sq.ft | 180 | Gypsum board, brand and thickness named; GI framing spec named | — | — | Two coats putty + primer + emulsion, brand and shade named |  |  | Light fittings supplied by owner unless a line says otherwise
11 | Pooja area | Pooja unit | sq.ft | 18 | 18mm BWP to IS 710 | 2mm PVC exposed | Hinges and channels: named brand + series | PU or laminate — named, with number of coats if PU |  |  | Any brass or jaali work itemised separately
12 | Whole home | Painting — walls and ceilings | sq.ft |  | Surface prep stated: putty coats, primer, finish coats | — | — | Brand, product line and shade codes named per room |  |  | State whether existing paint is scraped or overcoated
13 | Whole home | Electrical — new points and rewiring | Nos |  | Wire brand and gauge named; modular plate brand and series named | — | — | — |  |  | Points listed room by room; DB upgrade separate if needed
Subtotal
GST @ 18%
Total
Measurement basis used in this document: ______________________ (state it once, use it on every line)
Quotation valid until: ____________ Completion period from start: ______ weeks
Excluded from this document entirely: ____________________________________________

## Specification reference
What each line must name. The third column is the wording to refuse.
Element | What the line must name | The vague version | Why it matters
Plywood — wet zones (kitchen base, utility, vanity, wardrobe base) | BWP to IS 710, thickness in mm, brand named | "Waterproof plywood", "marine ply" with no standard cited | IS 710 is the boiling-water-proof standard. Without the standard named there is nothing to hold anyone to, and no warranty can attach to an unnamed grade.
Plywood — dry zones (wardrobe above base, TV units, shelving) | BWR to IS 303, thickness in mm, brand named | "Commercial ply", "ISI ply" | IS 303 covers general-purpose grades. An ISI mark alone does not tell you which grade you are getting.
Engineered boards where used | HDHMR or MDF stated explicitly, with brand, thickness and where it is used | Board type absorbed into a per-sq-ft rate | MDF in a wet zone fails. If a board type is not named you cannot tell where it has been used.
Hinges | Brand AND series, SS 304 where corrosion matters, soft-close stated, quantity per shutter | "Branded soft-close hinges" | Within one brand the series sets both the price and the life. A brand without a series is half a specification.
Drawer systems | Brand and series, load rating, full-extension or partial stated | "Telescopic channels" | Load rating and extension type are the difference between a drawer that works loaded and one that sags.
Handles and profiles | Brand, finish and per-unit count | Included in the shutter rate | Handles are commonly value-engineered out after the rate is agreed.
Laminate | Brand, shade code, thickness for shutters and internals separately | "Premium laminate" | 1mm outer with 0.8mm internal is normal; 0.8mm throughout is a downgrade you will not see.
PU or acrylic finish | System named, number of coats, sheen level | "PU finish" | Coat count is where cost is removed invisibly.
Countertop | Material, brand, thickness, edge profile, cut-outs included or excluded | "Granite counter" | Cut-outs and edge profiles are a standard source of extra charges.
False ceiling | Board brand and thickness, framing gauge and spacing, paint system | "POP / gypsum false ceiling" | Framing spacing is invisible after handover, which is exactly why it gets cut.
Electrical | Wire brand and gauge, plate brand and series, points counted room by room | "Electrical work" | Point counts settle disputes; a lump sum guarantees one.
Measurement basis | One basis stated once and used for every line, with the method defined | Different bases used on different lines | Changing basis mid-document makes lines incomparable and totals unverifiable.
GST | Subtotal, then GST calculated and shown, then the total | A single number with tax status unstated | An inclusive and an exclusive quote differ by 18% and look identical in a message.

## Carpenter checklist
Questions to ask your carpenter or contractor
Print this. Ask them on site, in this order, and write the answers on the sheet. An answer you cannot write down is not an answer.
Before any work starts
☐ | Which board grade goes where — walk the flat room by room and get it said out loud, then written.
☐ | Show me the board when it is delivered. I want to see the stamp on the edge before it is cut.
☐ | Whose material is it — yours or mine? If mine, give me the list and quantities before I buy.
☐ | What measurement basis have you quoted on, and does it match what is in the BOQ?
☐ | Which items are excluded from your number entirely?
☐ | How many people will be on site, and on which days?
Specification, in writing
☐ | Hinge brand and series — write it on the sheet, not just the brand.
☐ | Drawer channel brand, series and load rating.
☐ | Laminate brand and shade code for shutters, and separately for internals.
☐ | Edge banding thickness on exposed edges and on internals.
☐ | For any PU work: how many coats, and what sheen?
Sequence and site conduct
☐ | What has to be finished by others before you can start — electrical, plumbing, flooring?
☐ | Who protects the flooring and the lift lobby, and what does the society require?
☐ | What working hours does the association permit, and have you seen those rules?
☐ | Where will cutting be done? Cutting inside an occupied flat is a common dispute.
☐ | Who removes debris, how often, and is it in the number?
Money
☐ | What triggers each payment — a date, or a completed stage I can inspect?
☐ | If I change something mid-way, how is the change priced, and do I see it before it is done?
☐ | What happens to the price if the site is not ready on the date we agreed?
☐ | Is GST included in the figure you just said?
After it is built
☐ | What do you warrant, for how long, and what voids it?
☐ | Who fixes an alignment problem six months from now, and at whose cost?
☐ | Will you hand over the hardware warranty documents in my name?
☐ | What is the snag process — how do I raise one, and how long do you take?